Please complete all sections below.

Modifications and any additions to the below form or format will not be allowed. Proposals may be considered non-responsive if any modification or additions made to the form.

| Vendor Name |  |  |
| --- | --- | --- |
| Proposed System Name |  |  |
| System Version (Version and effective date) |  |  |
| Requirements – 0 Points Please answer Yes or No to each Requirement in the table below. |  |  |
| Requirement |  | Yes or No |
| Are sensors/probes calibrated with ISO 17025 accreditation with a minimum of 3 data points? |  |  |
| Can temperature be read in °C? |  |  |
| Do sensors/probes have an accuracy of +/- 0.1°C? |  |  |
| Can the proposed system handle temperature ranges from -90°C to 200°C? |  |  |
| Does this system have a local hosted server option? |  |  |
| Is the server in this proposal by Dell? |  |  |
| Does the proposed server run a minimum of Windows Server 2016? |  |  |
| Is the proposed server rack mounted with rails? |  |  |
| Does the proposed server have a minimum of Raid 5? |  |  |
| Does the proposed server have Hot Spare? |  |  |
| Is the proposed system Title 21 CFR Part 11 compliant? |  |  |
| Does the proposed system quote include minimum of 20 general users? |  |  |
| Does the proposed system quote include minimum of 5 administrator users? |  |  |
| If client software is required, is it compatible with a minimum of Windows 10? |  |  |
| Is there a minimum of 1 year warranty with replacement/exchange on all hardware items? |  |  |
| Does the proposed system have a complete audit trail that can be reported, exported, or printed? |  |  |
| Does the proposed system have customizable and escalating alarm notifications? |  |  |
| Can the administrator login add, remove, delete, and modify locations and temperature ranges? |  |  |
| Does initial and annual maintenance include a minimum 3 point calibration? |  |  |
| Does annual maintenance include software updates, firmware, hot fixes and patches at least annually? |  |  |
| Are two references from ISO 17025 accredited governmental laboratories using proposed system for at least 2 years included? See below. |  |  |

References – 30 Points

Maximum Point Value for this Section – 30 Points
100 Points x 30 Percent = 30 Points

Please complete the References table below.

| Reference 1 |  | Reference 2 |  |
| --- | --- | --- | --- |
| Laboratory Name |  | Laboratory Name |  |
| Contact Person |  | Contact Person |  |
| Phone Number |  | Phone Number |  |
| E-mail |  | E-mail |  |

References will be requested to answer the questions found on Attachment 3 - Reference Questions.

EVALUATOR'S POINT TOTAL FOR REFERENCES:			      ___________________

Evaluation Questions – 25 Points

Maximum Point Value for this Section – 25 Points
100 Points x 25 Percent = 25 Points

Please answer each Evaluation Question in the table below. Do not enter answers in the column marked “Evaluator’s Score/Notes.”

| Evaluation Question | Yes or No (or otherwise noted) |  | Evaluator’s Score/Notes |
| --- | --- | --- | --- |
| Does proposal include IQ, OQ, PQ by ISO 17025 accredited entity? |  |  |  |
| Does proposed system include displays on monitoring devices? |  |  |  |
| Does the proposed system require installation of client (PC/desktop) software |  |  |  |
| Does the proposed system have an ability to query or report data in graphs, tables, and/or charts? |  |  |  |
| Does the proposed system have the ability to search with custom date ranges? |  |  |  |
| Can the proposed system log corrective actions via a free form and/or drop down list? |  |  |  |
| Can the proposed system generate a report of action required notifications include date/time stamp of alarm, location, description, ID, notification reason, corrective action taken, date/time stamp of corrective action, and person performed? |  |  |  |
| Does the proposed system have standard or customizable preventative maintenance reports, such as battery levels, signal strength, or integrity? |  |  |  |
| Alerts sent via email? |  |  |  |
| Alerts sent via phone? |  |  |  |
| Alerts sent via SMS? |  |  |  |
| Is there web based access? |  |  |  |
| Does web access required additional or different licenses? |  |  |  |
| Can you respond/inhibit alarm notifications from web access? (Yes or No or N/A) |  |  |  |
| If yes, via Internet Explorer? (Yes or No or N/A) |  |  |  |
| If yes, via Safari? (Yes or No or N/A) |  |  |  |
| If yes, via Chrome? (Yes or No or N/A) |  |  |  |
| Can you respond/inhibit alarm notifications from phone app? (Yes or No or N/A) |  |  |  |
| Is there a phone app for access? |  |  |  |
| Do phone apps required additional or different licenses? |  |  |  |
| Is app available via Apple store? |  |  |  |
| Is app available via Google store? |  |  |  |
| Can proposed system accommodate humidity sensor, if decided to add later? |  |  |  |
| Can proposed system accommodate CO2 sensor, if decided to add later? |  |  |  |
| Are customized calibration certificates provided for easy identification of locations, sensors, and monitors? |  |  |  |
| Do annual ISO 17025 accredited calibrations in proposal require technician to come on-site? |  |  |  |
| Do any software/firmware updates as part of annual maintenance require technician to come on-site? | Please list number of business days: |  |  |
| What can be expected as a priority response to AK if on-site technician needed outside of annual calibrations? (Number of business days.) |  |  |  |
| Do you have a toll-free technical support line? |  |  |  |
| What days/hours is the technical support phone line manned? (Enter Schedule) – 0 Points |  |  |  |

EVALUATOR'S POINT TOTAL FOR EVALUATION QUESTIONS:	___________________

Cost Proposal – 40 Percent

Maximum Point Value for this Section – 40 Points

Overall, a minimum of 40 of the total evaluation points will be assigned to cost. The cost amount used for evaluation may be affected by a preference.

Converting Cost to Points

The lowest cost proposal will receive the maximum number of points allocated to cost. The point allocations for cost on the other proposals will be determined through the method set out in the solicitation.

EVALUATOR'S POINT TOTAL FOR CONTRACT COST:           	  ___________________

MBE/WBE Preference - 5 Points

To receive the points, the qualified Minority Business Enterprise (MBE) or Women’s Business Enterprise (WBE) offeror or subcontractor will provide evidence of certification and the work that they will perform.

Minority Business Enterprise (MBE) and Women’s Business Enterprise (WBE).

This procurement is funded in part or fully through Federal grants or cooperative agreements. This IRFP incorporates a five point’s preference for all qualified minority and women’s business enterprises.

MBE/WBE receive a 5 percent overall evaluation point preference.

Point Value for MBE/WBE in this section – 5 Points

100 Points x 5 Percent = 5 Points

EVALUATOR'S POINT TOTAL FOR MBE/WBE PREFERENCE:	_______________________

EVALUATOR'S COMBINED POINT TOTAL FOR ALL SECTIONS:        _______________________