- PURPOSE

To provide that all electrical devices used at Alaska Psychiatric Institute (API) are inspected and maintained in accordance with standards ensuring hazard-free operation by the user.

- POLICY

All electrical devices at API must be U.L. approved or be certified by an OSHA listed Nationally Recognized Testing Laboratory (NRTL).

- DEFINITIONS

  - United Laboratories (U.L.): an item having a UL seal which has been tested by UL to nationally recognized safety and sustainability standards.

- PROCEDURE

  - All devices that are electrically powered/plugged into an AC wall outlet will be line operated are taken to the Maintenance Department for inspection and approval and tagging prior to use within the hospital.

    - All devices must be UL approved or certified by an OSHA listed Nationally Recognized Testing Laboratory (NRTL), and so tagged.

    - Home built devices or devices that have been modified will not be approved for use on API campus.

    - Upon notification from the Maintenance Department, the appropriate person (staff only) will come to Maintenance and return the device to the person or unit that requested the inspection.

    - Any of the above-mentioned electrical devices that are rejected shall be removed from the premises or properly stored.

  - Any electrical device not approved for us on the API campus shall be removed from the premises or properly stored, as per the Maintenance Superintendent’s requirements.

  - Device Inspection

    - Nursing Staff must approve all patient-owned devices prior to inspection and approval review by the Maintenance Department.

    - All staff-owned devices must be approved for use by the person's supervisor prior to being sent to the Maintenance Department for electrical inspection.

      - A memo will accompany each device provided for Maintenance inspection indicating:

        - Owner

        - To whom it belongs,

        - Intended user and API position or admission status.

        - Whether or not item has been donated

        - API Department authority requesting approval to use.

        - On whose authority has the device been approved for the patient to use

      - All staff-owned devices must be approved by the person's supervisor prior to being sent to the Maintenance Department for electrical inspection and accompanied by a memo as above.

      - All devices must be U.L. approved or be certified by an OSHA listed Nationally Recognized Testing Laboratory (NRTL), and so tagged.

        - Note: Home built devices or devices that have been modified will be rejected.

      - Re-inspections will be scheduled according to manufacturer's recommendation or as determined by the Maintenance Department.

      - All inspected equipment and appliances will have a tag affixed, dated, and signed by Maintenance Department personnel.

        - Equipment without such tags may be required to be removed from the hospital.

        - Tas will either be stickers or permanent marker.

      - All devices must be in good repair.

        - Employees or patients owning devices approved for use are responsible for keeping the device in a state of good repair.

        - Maintenance Department personnel will not maintain employee or patient owned devices unless approved and directed to do so by the Maintenance Superintendent.

        - 1363A – CMS Approved Power Surge protectors are to be used in ALL patient care areas. Staff are not to use the 1363A surge protectors for Microwaves, Refrigerator’s, higher wattage appliances as they will trip the power surge protectors.

        - Note: It is not the responsibility of the Maintenance Department to repair personal items unless approved and directed to do so by the Maintenance Supervisor.

      - All devices are checked for proper grounding with multi-meter.

      - All devices are checked for safe and proper operation.

        - Note: In some instances, this may require partial or complete unpacking and assembly.

      - All devices will be cataloged by the Maintenance Department.

      - All devices that have been approved will be clearly tagged by the Maintenance Department.

      - All surge extension cords used at API will be provided by the Maintenance Department and be for "staff use only".

      - Re-inspections will be scheduled according to manufacturer's recommendation or as determined by the Maintenance Department.

      - All inspected equipment and appliances will have a tag affixed, dated, and signed by Maintenance Department personnel.

        - Equipment without such tags may be required to be removed from the hospital.

- HISTORY OF REVISIONS

New: 12/14/84

Renumbered from 70-1.1 to H-1 on 03/02/93, then from H-1 to EOC-130 on 08/31/00

Revised: 5/22/94; 8/31/00; 11/06/03; 04/07/05; 08/10/07; 11/14/19; 07/03/23

Reviewed: 07/03/23

- ATTACHMENT

None