## Instructions
Instructions - How to Use the Program Demand Cost Model
The Program Demand Cost Model is created in Excel Microsoft Office 365 (Version 2603). To start, open the template and save a copy on your hard drive.
Starting with the Project Summary sheet, fill in the necessary information in the cells with red text only (school district, project, location and date), and all other sheets will format accordingly. For a renovation project, the square foot quantity must be entered in the appropriate cell. The new construction square foot quantity is calculated using the quantities placed within the model.
Next, go to Tab 1.0 for New Construction, or Tab 11.00 for Renovation Work. Place quantities in applicable cells with red text. Please note, the red cells are the only cells that can be edited. HINT: If you use the tab key, you will move from cell-to-cell on those allowing input.
Proceed through the other tabbed sheets. All subtotal calculations and summary sheets will be calculated automatically.
After completing the variable information make sure to save your work. You can print the entire workbook by selecting File, Print, Entire Workbook. Please note you only need to print the yellow colored Project Summary, General Summary, and Notes Tabs for DEED/CIP submittal.
Additional information on use of the Cost Model and specific line items is provided in the Instructions to Complete the Program Demand Cost Model, available on the department's website at:
https://education.alaska.gov/facilities/docs/Cost_Model_Instructions_Tables_2025.pdf
Below is a list of commonly used abbreviations found in the Program Demand Cost Model.
$ = Dollars AC = Acre BTU = British Thermal Units CCTV = Closed-Circuit Television CFM = Cubic Feet per Minute CUH = Cabinet Unit Heater CR = Classroom CY = Cubic Yard DDC = Direct Digital Controls EA = Each GAL = Gallon GPH = Gallons per Hour GPM = Gallons per Minute GWB = Gypsum Wall Board KW = Kilowatt LF = Linear Foot LS = Lump Sum MBH = 1,000 BTU per Hour PP = Per Person SF = Square Foot STL = Stall VCT = Vinyl Composite Tile

## Project Summary
Project Summary
Name of School District | Date of Estimate |  | n/a
Name of Project/School | Select Project Location
Description | New Construction | Renovation | Total
PROJECT SIZE | 0 | 0 | 0
CONSTRUCTION COST PER SQUARE FOOT
CONSTRUCTION COST | 0 | 0 | 0
PROJECT OVERHEAD AND OTHER COSTS: | n/a | n/a | n/a
Construction Management (By Consultant) | 0 | 0 | 0
Land Purchase Costs | 0 | 0 | 0
Site Investigation | 0 | 0 | 0
Seismic Hazard | 0 | 0 | 0
Design Services Costs | 0 | 0 | 0
Other Construction | 0 | 0 | 0
Equipment & Technology Costs | 0 | 0 | 0
District Administrative Overhead | 0 | 0 | 0
Art | 0 | 0 | 0
Project Contingency | 0 | 0 | 0
TOTAL PROJECT COST: | 0 | 0 | 0
NOTES: | n/a | n/a | n/a
1 The square foot area for renovation needs to be inserted. | n/a | n/a | n/a
End of section

## 1.00 Instructional Resource
Section 1.00 - Instructional/Resource and Support Teaching Space
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Quantity | Cost Per Unit | Total
1.01 | Standard Classroom1 | 0 | 407.7 | 0
1.02 | Kindergarten/Primary Classroom2 | 0 | 444.97 | 0
1.03 | Damp Classroom/Laboratory3 | 0 | 447.47 | 0
1.04 | Gymnasium4 | 0 | 550.74 | 0
1.05 | Media Center/Library | 0 | 426.33 | 0
1.06 | Music Room | 0 | 450.18 | 0
1.07 | Consumer Education5 | 0 | 485.95 | 0
1.08 | Career Technology6 | 0 | 473.26 | 0
1.09 | Other7 | 0 | 0 | 0
1.1 | Other7 | 0 | 0 | 0
1.11 | SUBTOTAL (Lines 1.01 Through 1.10): | 0 | N/A | 0
NOTES: | n/a | n/a | n/a | n/a
1 Includes general educational space as well as special instructional areas to include business, driver's education, typing, language laboratory, and special education. Cost for computer outlets included in classrooms.
2 Includes a toilet.
3 Includes art, sciences, craft and cosmetology.
4 Physical education (dressing rooms and health classrooms).
5 Includes bilingual/bicultural space
6 Includes wood/metal shop, automotive shop, agriculture, maker space, simulation lab.
7 These lines are intended for incorporation of unique project elements. Where appropriate, use of square foot costs of similarly constructed space may be used. For unique project elements, it is recommended that a consultant familiar with the project component be utilized for development of appropriate costs.
End of section
End of section
Note on B13: Please describe your "Other" space on the "Notes/Assumption" worksheet at the end of the workbook and enter the space type in this cell.
Note on B14: Please describe your "Other" space on the "Notes/Assumption" worksheet at the end of the workbook and enter the space type in this cell.

## 2.00 General Support Supplement
Section 2.00 - General Support/Supplementary Areas
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Quantity | Cost Per Unit | Total
SUBTOTAL CARRIED FORWARD (Line 1.11): |  | 0 | N/A | 0
2.01 | Multi-Purpose Room1 | 0 | 429.12 | 0
2.021 | Auditorium | 0 | 616.28 | 0
2.022 | Platform Stage | 0 | 542.85 | 0
2.023 | Stage | 0 | 700 | 0
2.03 | Lockers and Showers | 0 | 594.87 | 0
2.04 | Administration2 | 0 | 443.73 | 0
2.05 | Cafeteria/Food Preparation3 | 0 | 1082.43 | 0
2.06 | Storage | 0 | 300.7 | 0
2.07 | Toilets | 0 | 640.75 | 0
2.08 | Circulation (Corridors, Etc.) | 0 | 418.53 | 0
2.09 | Mechanical/Electrical4 | 0 | 300.7 | 0
2.1 | Custodial | 0 | 421.26 | 0
2.11 | Other5 | 0 | 0 | 0
2.12 | Other5 | 0 | 0 | 0
2.13 | SUBTOTAL (Lines 1.11 + 2.01 Through 2.12): | 0 | N/A | 0
NOTES: | n/a | n/a | N/A | n/a
1 Lunch rooms, etc.
2 Includes space for counselor's area, clinic areas and administrative areas.
3 Includes kitchen and serving areas (Dining in 2.01 - Multipurpose Room).
4 Does not include equipment or systems, just space.
5 These lines are intended for incorporation of unique project elements. Where appropriate, use of square foot costs of similarly constructed space may be used. For unique project elements, it is recommended that a consultant familiar with the project component be utilized for development of appropriate costs.
6 The total square foot area arrived at from Sections 1.00 and 2.00 is the gross floor area of the building.
End of section
Note on B18: Please describe your "Other" space on the "Notes/Assumption" worksheet at the end of the workbook and enter the space type in this cell.
Note on B19: Please describe your "Other" space on the "Notes/Assumption" worksheet at the end of the workbook and enter the space type in this cell.

## 3.00 Special Requirements
Section 3.00 - Special Requirements
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Quantity | Cost Per Unit | Total
SUBTOTAL CARRIED FORWARD (Line 2.13): |  | n/a | n/a | 0
3.011 | Emergency Generator Within Building | 0 | 2368.15 | 0
3.012 | Emergency Standby Generator (Pre-Packaged) | 0 | 2190.48 | 0
3.013 | Generator Primary Power | 0 | 2823.54 | 0
3.02 | Fuel Oil Storage for Generator | 0 | 21.58 | 0
3.031 | Fire Protection - Diesel Pump | 0 | 127064 | 0
3.032 | Fire Protection - Electric Pump | 0 | 66780 | 0
3.033 | Fire Protection - Mist System | 0 | 39.01 | 0
3.04 | Fire Protection - Water Storage | 0 | 10.65 | 0
3.05 | Add for Crawlspace1 | 0 | 116.91 | 0
3.06 | Pile Foundation with Subfloor System2 | 0 | 192.39 | 0
3.07 | Thermopile Foundation with Subfloor System3 | 0 | 204.24 | 0
3.08 | Demolition of Existing Building4 | 0 | 37.79 | 0
3.09 | Abatement of Existing Building4 | 0 | 19.26 | 0
3.1 | Sewage Lagoon Closeout | 0 | 8.6 | 0
3.11 | Other Special Requirements5 | 1 | 0 | 0
3.12 | SUBTOTAL (Lines 2.13 + 3.01 Through 3.11): | n/a | n/a | 0
NOTES: | n/a | n/a | n/a | n/a
1 Enter SF of building footprint that will be constructed using standard concrete foundations and a crawlspace.
2 Enter SF of building footprint that will be constructed using standard pile foundation system.
3 Enter SF of building footprint that will be constructed using thermopile foundation system.
4 Note in the case of complete demolition of an existing structure use Item 3.08. To add abatement demolition, use Item 3.09 if hazardous materials are present.
5 Special Requirements include infrastructure for items not shown above or in Section 4.00.
End of section
Note on B20: Please describe your "Other Special Requirements" on the "Notes/Assumption" worksheet at the end of the workbook.

## 4.00 Site Work
Section 4.00 - Site Work (Technical Assistance Required)
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Quantity | Cost Per Unit | Total
SUBTOTAL CARRIED FORWARD (Line 3.12): |  | n/a | n/a | 0
4.01 | Site Preparation (Estimate)1 | 1 | 0 | 0
4.011 | Soil Remediation (Estimate) | 0 | 1280.9 | 0
4.02 | Site Earthwork (Estimate)2 | 1 | 0 | 0
4.03 | Site Improvements (Estimate) | 1 | 0 | 0
4.031 | Construct Paved Parking Area | 0 | 3031 | 0
4.032 | Construct Unpaved Parking Area | 0 | 4.42 | 0
4.033 | On Grade Boardwalk | 0 | 66.12 | 0
4.034 | Elevated Boardwalk | 0 | 63.25 | 0
4.035-A | Large Play Equipment with Fall Protection | 0 | 95041 | 0
4.035-B | Medium Play Equipment with Fall Protection | 0 | 45020 | 0
4.035-C | Small Play Equipment with Fall Protection | 0 | 3320 | 0
4.035-D | 4-Bay Swing Set | 0 | 5028 | 0
4.035-E | Playground Safety Surfacing | 0 | 34.85 | 0
4.036-A | Play Deck on Grade | 0 | 88.05 | 0
4.036-B | Play Deck on Helical Piles | 0 | 79.61 | 0
4.037-A | Landscaping with Truck Access | 0 | 11.2 | 0
4.037-B | Landscaping with Barge Access | 0 | 13.35 | 0
4.038 | Sports Field/Track | 0 | 4.27 | 0
4.04 | Site Structures (Estimate)3 | 1 | 0 | 0
4.041 | Covered Play Area | 0 | 117.44 | 0
4.042 | Utility Building Built in Place | 0 | 289.7 | 0
4.043 | Pile Supported Deck Structure | 0 | 237.37 | 0
4.05 | Site Utilities (Estimate)4 | 1 | 0 | 0
4.051 | Water Main | 0 | 248.89 | 0
4.052 | Sewer Main | 0 | 240.02 | 0
4.053 | Underground Storm Water System | 0 | 6.32 | 0
4.054 | Pumped Sanitary Sewer System | 0 | 452.1 | 0
4.055 | Well | 0 | 28699 | 0
4.056 | Pre-Packaged Water Treatment | 0 | 1654577 | 0
4.057 | Utilidor | 0 | 1142.52 | 0
4.06 | Bulk Fuel Storage | 0 | 21.58 | 0
4.061 | Remove Bulk Fuel Storage Tanks | 0 | 2.36 | 0
4.07 | Site Electrical (Estimate)5 | 1 | 0 | 0
4.08 | Site Lighting (Cost Per Fixture) | 0 | 17632.5 | 0
4.09 | Septic Tank/Leach Field | 0 | 169693 | 0
4.091 | Sewage Lagoon | 0 | 3698 | 0
4.092 | Pre-Packaged Waste Water Treatment | 0 | 1468312 | 0
4.1 | Other | 1 | 0 | 0
4.11 | TOTAL BUILDING COSTS (Lines 3.12 + 4.01 Through 4.10): |  | n/a | 0
NOTES: | n/a | n/a | n/a | n/a
1 Include costs associated with soil remediation, building relocation, shoring, and dewatering.
2 Include costs associated with the site clearing, excavation, grading, and import/export of fill.
3 Include costs for site structures not indicated below.
4 Use this line if site work estimate is available or a site utility item is required that is not shown in the items following.
5 Include costs associated with site electrical service, communications, security and electrical equipment.
End of section
Note on B43: Please describe your "Other Special Requirements" on the "Notes/Assumption" worksheet at the end of the workbook.

## 5.00 General Requirements
Section 5.00 - Construction General Requirements
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source | Mark-Up | Total
SUBTOTAL CARRIED FORWARD (BUILDING COSTS) (Line 4.11): |  |  | n/a | 0
5.01 | Mobilization, General Operating Costs, and Office Overhead | Line 4.11 x | 13.3% | 0
5.02 | Contactor's Mark-Up, Risk and Profit | Lines 4.11 + 5.01 x | 9% | 0
5.03 | Bonds and Insurances | Lines 4.11 + 5.01 + 5.02 x | 2.45% | 0
5.04 | SUBTOTAL GENERAL REQUIREMENTS: |  |  | 0
5.05 | BASE TOTAL (Lines 4.11 + 5.04): | n/a | n/a | 0
End of section

## 6.00 Geographic Cost Factor
Section 6.00 - Geographic Area Cost Factor
Name of School District |  | Date of Estimate | n/a | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source | Factor | Total
SUBTOTAL CARRIED FORWARD (BASE TOTAL) (Line 5.05): |  | n/a | n/a | 0
6.01 | Select Project Location | Line 5.05 x | 0% | 0
6.02 | SUBTOTAL (Lines 5.05 + 6.01): | n/a | n/a | 0
End of section

## 7.00 Size Factor
Section 7.00 - Size Factor
Name of School District |  | Date of Estimate
Name of Project/School |  | Select Project Location
Line | Description | Source | Factor | Total
SUBTOTAL CARRIED FORWARD (Line 6.02): |  | n/a | n/a | 0 | 0 | 1.25
7.01 | Size Adjustment Factor | Line 6.02 x | 1.25 | 0 | 0.05 | 1.25
7.02 | SUBTOTAL (Lines 6.02 + 7.01): | n/a | n/a | 0 | 0.1 | 1.25
FORMULA: |  |  |  |  | 0.15 | 1.22
Proposed School Size |  | 0 | 0 | n/a | 0.2 | 1.19
Base School Size |  | 25000 | n/a | n/a | 0.25 | 1.16
OVERRIDE: |  | n/a | n/a | n/a
To override the Size Adjustment Factor, please choose 'Yes'3: |  | No | n/a | n/a
NOTES: |  | n/a | n/a | n/a | 0.3 | 1.14
1. Note this section is automatically calculated by the program. However, refer to Table No. 2 for details on how the size adjustment factor is arrived at. |  |  |  |  | 0.35 | 1.12
2. Please note if the proposed new school exceeds 25,000 SF, this calculation is disregarded. |  |  |  |  | 0.4 | 1.1
3. If the Size Adjustment Factor does not apply to this project, choose 'Yes' from the drop down menu, and the amount calculated for this factor will be disregarded by the model. |  |  |  |  | 0.45 | 1.09
End of section |  |  |  |  | 0.5 | 1.08
[5 empty] | 0.55 | 1.07
[5 empty] | 0.6 | 1.06
[5 empty] | 0.65 | 1.05
[5 empty] | 0.7 | 1.04
[5 empty] | 0.75 | 1.03
[5 empty] | 0.8 | 1.02
[5 empty] | 0.9 | 1.01
[5 empty] | 0.95 | 1
[5 empty] | 1 | 0
[5 empty] | FALSE | No
Yes

## 8.00 Contingencies
Section 8.00 - Contingencies
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source | Mark-Up | Total | 2026 | 0%
SUBTOTAL CARRIED FORWARD (Line 7.02): |  | n/a | n/a | 0 | 2027 | 4%
8.01 | GENERAL - For construction unknowns and the unanticipated, on site, and design criteria. | Line 7.02 x | 10% | 0 | 2028 | 8%
8.02 | UNIQUE MARKET RISK - Contingency due to tariff and gas pricing's unknown affect on the economy. | Lines 7.02 + 8.01 x | 5% | 0
8.03 | SUBTOTAL (Lines 7.02 + 8.01 + 8.02): | n/a | n/a | 0 | 2029 | 12%
n/a | ESCALATION - Enter year of anticipated construction in Cell D9. | n/a | 2026 | n/a | 2030 | 16%
8.04 | ESCALATION - Escalation is to be added for future cost estimates. Escalation has been estimated up to the year as stated. | Line 8.03 x | 0% | 0 |  | N/A
8.05 | TOTAL ESTIMATED CONSTRUCTION VALUE (Lines 8.03 Through 8.04): |  | n/a | 0
End of section

## 9.00 Project Overhead and Other
Section 9.00 - Project Overhead and Other Costs
Name of School District |  | Date of Estimate |  |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source or Quantity | Mark-Up | Total | Suggested DEED Ranges
SUBTOTAL CARRIED FORWARD (CONSTRUCTION VALUE) (Line 8.05): |  |  | n/a | 0 | n/a
9.01 | Construction Management (by Consultant)1 | Line 8.05 x | 0% | 0 | 2% to 4%
9.02 | Land Purchase Costs2 | 1 LS | -- | 0 | N/A
9.03 | Site Investigation2 | 1 LS | -- | 0 | N/A
9.04 | Seismic Hazard3 | 1 LS | -- | 0 | N/A
9.05 | Design Services Costs | Line 8.05 x | 0% | 0 | 6% to 10%
9.06 | Other Construction4 | 1 LS | -- | 0 | N/A
9.07 | Equipment & Technology Costs2, 5 | Line 8.05 x | 0% | 0 | Up to 4%
9.08 | District Administrative Overhead6 | Line 8.05 x | 0% | 0 | Up to 9%
9.09 | Art7 | Line 8.05 x | 0% | 0 | 0.5% to 1%
9.1 | Project Contingency | Line 8.05 x | 5% | 0 | 5%
9.11 | PROJECT TOTAL COST (Lines 8.05 + 9.01 Through 9.10): |  | 5% | 0 | n/a
NOTES: |  | n/a | n/a | n/a | n/a
1. Percentage is established by AS 14.11.020(c) for consultant contracts (Maximum allowed percentage by total project cost: $0-$500,000 – 4%; $500,001- $5,000,000 – 3%; over $5,000,000 – 2%).
2. Include only if necessary for completion of this project; address need in the project description (CIP Application Question 3d). Amounts included for Land and Site Investigation costs need to be supported in the cost estimate discussion (CIP Application Question 7c), and supporting documentation should be provided in the attachments.
3. Costs associated with assessment, design, design review, and special construction inspection services associated with seismic hazard mitigation of a school facility. This amount needs to be provided by a design consultant and should not be estimated based on project percentage.
4. Provide lump sum for other construction costs, if provided by a third party for work performed or for items not otherwise included in the Program Demand Cost Model. This amount should include all costs required for completion of work not estimated using the Program Demand Cost Model.
5. Equipment and technology costs should be calculated based on the number of students to be served by the project. See the department’s publication, Guidelines for School Equipment Purchases for calculation methodology (2021). Technology is included with Equipment.
6. Includes district/municipal/borough administrative costs necessary for the administration of this project (for maximum indirect percentage based on project cost, see 4 AAC 31.023); this budget line will also include any in-house construction management cost, reduced for CM percentage.
7. Only required for renovation and construction projects over $250,000 that require an Educational Specification (AS 35.27.020(d)).
End of section

## 11.00 Renovation
Section 11.00 - Renovation
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Quantity | Cost Per Unit | Total
11.01 | SITE WORK | n/a | n/a | n/a
11.02 | Paving Replacement | 0 | 2171 | 0
11.03 | Fencing Replacement | 0 | 97.94 | 0
11.04 | Replace Septic System | 0 | 34.81 | 0
11.1 | FOUNDATION AND SUBSTRUCTURE | n/a | n/a | n/a
11.11 | Repairs (Estimate) | 1 | 0 | 0
11.12 | Recharge Thermopiles | 0 | 1137.88 | 0
11.13 | Site Grading/Drainage | 0 | 422052 | 0
11.2 | SUPERSTRUCTURE | n/a | n/a | n/a
11.21 | Repairs (Estimate) | 1 | 0 | 0
11.22 | Seismic Repairs (Estimate) | 1 | 0 | 0
11.3 | EXTERIOR CLOSURE | n/a | n/a | n/a
11.31 | Exterior Upgrades (Replace Exterior Beveled Siding)1 | 0 | 16.83 | 0
11.32 | Exterior Upgrades (Repaint Existing)1 | 0 | 4.96 | 0
11.33 | Exterior Insulation Finish System to Existing1 | 0 | 27.25 | 0
11.34 | Exterior Upgrades (Painted Cement Board)1 | 0 | 14.36 | 0
11.35 | Exterior Skin (Metal Siding) | 0 | 31.46 | 0
11.36 | Exterior Skin (New Metal Siding Installed Over Existing) | 0 | 30.45 | 0
11.37 | Insulation (Replace Insulation and Gypboard) | 0 | 9.99 | 0
11.38 | Exterior Closure (Replace Doors and Frames) | 0 | 6477.36 | 0
11.39 | Exterior Closure (Replace Overhead Doors) | 0 | 218.71 | 0
11.4 | Exterior Closure (Replace Windows)2 | 0 | 160.69 | 0
11.41 | Exterior Closure (Replace Curtain Wall) | 0 | 257.1 | 0
11.42 | Other Repairs (Estimate) | 1 | 0 | 0
11.5 | ROOFING (AREA OF ROOF) | n/a | n/a | n/a
11.51 | Replace Metal Roofing | 0 | 42.17 | 0
11.52 | Replace Insulated Metal Panel Roofing | 0 | 48.02 | 0
11.53 | Replace Membrane Roofing | 0 | 40.09 | 0
11.54 | Replace Asphalt Shingle Roofing | 0 | 16.8 | 0
11.55 | Increase Roof Insulation by R-10 During Roof Replacement | 0 | 4.63 | 0
11.56 | Replace Roof Drain/Rain Leader | 0 | 6230 | 0
11.6 | INTERIOR CONSTRUCTION | n/a | n/a | n/a
11.61 | Replace Partitions (Includes Finishes)3 | 0 | 27.57 | 0
11.62 | Replace Wall Finishes | 0 | 12.53 | 0
11.63 | Replace Door Leaf and Frames4 | 0 | 4154.56 | 0
11.64 | Interior Painting (Walls and Ceilings)5 | 0 | 7.8 | 0
11.65 | Replace Carpet Tile5 | 0 | 10.02 | 0
11.66 | Replace Resilient Flooring5 | 0 | 12.23 | 0
11.67 | Replace Wood Gym Flooring5 | 0 | 41.54 | 0
11.68 | Replace Resilient Gym Flooring5 | 0 | 27.03 | 0
11.69 | Replace Ceramic Tile5 | 0 | 35.31 | 0
11.7 | Replace Acoustical Tile Ceiling5 | 0 | 5.49 | 0
11.71 | Replace Gypboard Ceiling5 | 0 | 10.2 | 0
11.8 | SPECIALTIES/FURNISHINGS AND EQUIPMENT | n/a | n/a | n/a
11.81 | Replace Toilet Partitions6 | 0 | 2044.56 | 0
11.82 | Replace Toilet Accessories7 | 0 | 210.98 | 0
11.83 | Smart Boards | 0 | 11948.1 | 0
11.84 | Replace Sports Equipment and Lockers (Small Gym) | 0 | 38415 | 0
11.85 | Replace Bleachers | 0 | 377.57 | 0
11.86 | Replace Tack/Chalk/Marker Boards | 0 | 22.29 | 0
11.87 | Replace Base Cabinet Units | 0 | 421.96 | 0
11.88 | Replace Wall Hung Units | 0 | 289.39 | 0
11.89 | Replace Window Coverings | 0 | 37.29 | 0
11.9 | Other Repairs (Estimate) | 1 | 0 | 0
11.1 | CONVEYING (ELEVATORS, ETC.) | n/a | n/a | n/a
11.101 | New Two-Stop Elevator | 0 | 240756 | 0
11.102 | Replace Wheelchair Lift | 0 | 29743 | 0
11.103 | Repairs/Replacement (Estimate) | 1 | 0 | 0
11.11 | MECHANICAL | n/a | n/a | n/a
11.111 | Replace Plumbing Fixtures Only8 | 0 | 2993.22 | 0
11.112 | Replace Entire Plumbing System8, 9 | 0 | 18.38 | 0
11.113 | Replace Plumbing - Domestic Water Piping | 0 | 5.89 | 0
11.114 | Replace Plumbing - Waste Piping | 0 | 6.97 | 0
11.115 | Replace Heating Systems9 | 0 | 20.24 | 0
11.116 | Replace Boiler(s) Including Partial Boiler Room Re-Piping | 0 | 98.57 | 0
11.117 | Replace Cabinet Unit Heaters | 0 | 4474 | 0
11.118 | Replace Hot Water Generator Including Disposal | 0 | 113.61 | 0
11.119 | Replace Ventilation Systems9 | 0 | 50.95 | 0
11.12 | Replace Air Handling Unit | 0 | 18.74 | 0
11.121 | New Exhaust Fan | 0 | 17000 | 0
11.122 | New Cooling Systems | 0 | 3.26 | 0
11.123 | New DDC Controls | 0 | 14.45 | 0
11.124 | Replace DDC Headend Equipment | 0 | 91406 | 0
11.125 | New Electric Controls | 0 | 1.39 | 0
11.126 | New Sprinkler System (Excludes Replace Ceiling) | 0 | 12.87 | 0
11.127 | New Mist Sprinkler System | 0 | 42.66 | 0
11.128 | Fire Protection Diesel Pump Replacement | 0 | 131907 | 0
11.129 | Fire Protection Electric Pump Replacement | 0 | 64551 | 0
11.13 | Replace Bulk Water Storage Tank | 0 | 11.22 | 0
11.131 | Other Repairs/Replacement (Estimate) | 1 | 0 | 0
11.14 | ELECTRICAL | n/a | n/a | n/a
11.141 | Replace Main Service and Distribution10 | 0 | 170364 | 0
11.142 | Replace Main Distribution Panel10 | 0 | 74033 | 0
11.143 | New Power Panel10 | 0 | 14708 | 0
11.144 | Replace Lighting - Fixtures & Wiring11 | 0 | 16.81 | 0
11.145 | Replace Lighting - Fixtures Only11 | 0 | 9.42 | 0
11.146 | Re-Lamp Fixtures | 0 | 1.72 | 0
11.147 | Replace Power Devices | 0 | 4.22 | 0
11.148 | New Standby Power and Fuel Oil | 0 | 2368.15 | 0
11.149 | New Pre-Packaged Standby Power and Fuel Oil | 0 | 2190.48 | 0
11.15 | Generator Primary Power | 0 | 2823.54 | 0
11.16 | FIRE ALARM/COMMUNICATIONS/SECURITY | n/a | n/a | n/a
11.161 | New Addressable Fire Alarm System | 0 | 3.24 | 0
11.162 | Replace Fire Alarm Panel | 0 | 16702 | 0
11.163 | New Computer Outlets (Rough-In) | 0 | 2.18 | 0
11.164 | New Data/Telecommunication/Address/Clock Systems | 0 | 7.73 | 0
11.165 | New Public Address (Gym and Stage) | 0 | 60661 | 0
11.166 | New Hearing Impaired Audio System | 0 | 20206 | 0
11.167 | New Security System/CCTV | 0 | 6.83 | 0
11.168 | Key Card Entry System | 0 | 5523 | 0
11.169 | Enhanced Reception Security | 0 | 17318 | 0
11.18 | OTHER REPAIRS/REPLACEMENT/DEMOLITION | n/a | n/a | n/a
11.181 | Other Repairs/Replacement/Demolition (Estimate) | 1 | 0 | 0
11.182 | SUBTOTAL (Lines 11.01 Through 11.181): | n/a | n/a | 0
NOTES: | n/a | n/a | n/a | n/a
1 Area of exterior wall.
2 Area is the square footage of windows only.
3 Area of partition walls.
4 For double doors count (2) door leaves.
5 Actual area of applied finish.
6 Per water closet.
7 Per toilet fixture.
8 If only the plumbing fixtures are to be replaced, then use 11.111. If the entire plumbing system is to be replaced, then use 11.112. Do not use both categories for the same area.
9 Will require some building remodel.
10 The cost for 11.141 is based on replacement of MDP and 6 power panels. The scope of work for 11.141 is equivalent with selection of one 11.142 and six 11.143. Do not select all three categories.
11 If the project scope includes replacement of lighting fixtures only, then use 11.145. If the project scope includes replacement of fixtures, wiring and switches, then use 11.144. Do not use both categories for the same area.
End of section
Note on B28: Please describe your "Other Repairs" on the "Notes/Assumption" worksheet at the end of this workbook.
Note on B60: Please describe your "Other Repairs" on the "Notes/Assumption" worksheet at the end of this workbook.
Note on B86: Please describe your "Other Repairs" on the "Notes/Assumption" worksheet at the end of this workbook.
Note on B110: Please describe your "Other Repairs" on the "Notes/Assumption" worksheet at the end of this workbook.

## 12.00 Hazmat Removal
Section 12.00 - Additional Costs for Hazardous Material Removal (Options) (Supplement to Section 11.00)
School District: |  | Date of Estimate |  | n/a
Project: |  | Select Project Location
Line | Description | Quantity | Cost Per Unit | Total
SUBTOTAL CARRIED FORWARD (Line 11.182): |  | n/a | n/a | 0
12.01 | Complete Renovation (Interior) (Removal Only) | 0 | 20.8 | 0
12.02 | Roof Replacement (Roof Area) (Removal Only) | 0 | 4.22 | 0
12.03 | Exterior Upgrade (Number of Doors) (Removal Only) | 0 | 822.39 | 0
12.04 | Replace Interiors (Removal Only) | 0 | 5.42 | 0
12.05 | Replace Plumbing Fixtures (Removal Only) | 0 | 559.65 | 0
12.06 | Replace Heating and Ventilation Systems (Removal Only) | 0 | 5 | 0
12.07 | New Sprinkler System (Removal Only) | 0 | 4.28 | 0
12.08 | Work in Connection with New Electrical Installation (Removal Only) | 0 | 0.88 | 0
12.09 | Replace Small Fuel Oil Tank (Below Ground) | 0 | 51.05 | 0
12.1 | Replace Bulk Fuel Oil Tank (Above Ground) | 0 | 24.04 | 0
12.11 | Remove Below Ground Tank & Install New Above Ground Tank | 0 | 31.37 | 0
12.12 | Remove Above Ground Tank & Install New Below Ground Tank | 0 | 29.85 | 0
12.13 | Soil Remediation | 0 | 1280.9 | 0
12.14 | Other Specific Abatement | 1 | 0 | 0
12.15 | SUBTOTAL (Lines 11.182 + 12.01 Through 12.14): | n/a | n/a | 0
NOTES: |  | n/a | n/a | n/a
The areas or quantities to be inserted must only be the locations where hazardous materials are found, not the total building area.
End of section
Note on B19: Please describe your "Other Specific Abatement " on the "Notes/Assumption" worksheet at the end of this workbook.

## 13.00 General Requirements
Section 13.00 - Construction General Requirements
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source | Mark-Up | Total
SUBTOTAL CARRIED FORWARD (Line 12.15): |  | n/a | n/a | 0
13.01 | Mobilization, General Operating Costs, Office Overhead | Line 12.15 x | 15% | 0
13.02 | Contactor's Mark-Up, Risk and Profit | Lines 12.15 + 13.01 x | 10.5% | 0
13.03 | Bonds and Insurances | Lines 12.15 + 13.01 + 13.02 x | 3% | 0
13.04 | SUBTOTAL GENERAL REQUIREMENTS: |  |  | 0
13.05 | BASE TOTAL (Lines 12.15 + 13.04): | n/a | n/a | 0
End of section

## 14.00 Geographic Factor
Section 14.00 - Geographic Area Cost Factor
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source | Factor | Total
SUBTOTAL CARRIED FORWARD (BASE TOTAL) (Line 13.05): |  | n/a | n/a | 0
14.01 | Select Project Location | Line 13.05 x | 0% | 0
14.02 | SUBTOTAL (Lines 13.05 + 14.01): |  |  | 0
End of section.

## 15.00 Dollar Adjustment Factor
Section 15.00 - Dollar Adjustment Factor
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source | Factor | Total
SUBTOTAL CARRIED FORWARD (Line 14.02): |  | n/a | n/a | 0
15.01 | Dollar Adjustment Factor | Line 14.02 x | 1.25 | 0 | 0 | 1.25
15.02 | SUBTOTAL (Lines 14.02 + 15.01): | n/a | n/a | 0 | 0.05 | 1.25
FORMULA: |  | n/a | n/a | n/a | 0.1 | 1.25
Proposed Facility Divided By |  | 0 | 0 | n/a | 0.15 | 1.22
Typical Facility |  | 4000000 | n/a | n/a | 0.2 | 1.19
OVERRIDE: |  | n/a | n/a | n/a
To override the Dollar Adjustment Factor, please choose 'Yes'3: |  | No
NOTE: | n/a | n/a | n/a | n/a | 0.25 | 1.16
1. This section is automatically calculated by the program. However, refer to Table No. 2b of the Program Demand Cost Model Instructions document for details on how the dollar adjustment factor is arrived at. |  |  |  |  | 0.3 | 1.14
2. For additions included with remodel work that has a value equal to or greater than $4,000,000 at Line 14.02, this calculation is also disregarded. |  |  |  |  | 0.35 | 1.12
3. If the Dollar Adjustment Factor does not apply to this project, choose Yes from the drop down menu, and the amount calculated for this factor will be disregarded by the model. |  |  |  |  | 0.45 | 1.09
End of section |  |  |  |  | 0.55 | 1.07
[5 empty] | 0.6 | 1.06
[5 empty] | 0.65 | 1.05
[5 empty] | 0.7 | 1.04
[5 empty] | 0.75 | 1.03
[5 empty] | 0.8 | 1.02
[5 empty] | 0.9 | 1.01
[5 empty] | 0.95 | 1
[5 empty] | 1 | 0
[5 empty] | FALSE | Yes
No

## 16.00 Contingencies
Section 16.00 - Contingencies
Name of School District |  | Date of Estimate |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source | Mark-Up | Total
SUBTOTAL CARRIED FORWARD (Line 15.02): |  | n/a | n/a | 0 | 2026 | 0%
16.01 | GENERAL - For construction unknowns and the unanticipated, on site, and design criteria. | Line 15.02 x | 15% | 0 | 2027 | 4%
16.02 | UNIQUE MARKET RISK - Contingency due to tariff and gas pricing's unknown affect on the economy. | Lines 15.02 + 16.01 x | 5% | 0
16.03 | SUBTOTAL (Lines 15.02 + 16.01 + 16.02): |  |  | 0 | 2028 | 8%
n/a | ESCALATION - Enter year of anticipated construction in Cell D8. | n/a | 2026 | n/a | 2029 | 12%
16.04 | ESCALATION - Escalation is to be added for future cost estimates. Escalation has been estimated up to the year as stated. | Line 16.02 x | 0% | 0 | 2030 | 16%
16.05 | TOTAL ESTIMATED CONSTRUCTION VALUE (Lines 16.03 Through 16.04): |  |  | 0 |  | N/A
End of section

## 17.00 Project Overhead
Section 17.00 - Project Overhead and Other Costs
Name of School District |  | Date of Estimate |  |  | n/a
Name of Project/School |  | Select Project Location
Line | Description | Source or Quantity | Mark-Up | Total | Suggested DEED Ranges
SUBTOTAL CARRIED FORWARD (CONSTRUCTION VALUE) (Line 16.04): |  |  | n/a | 0 | n/a
17.01 | Construction Management (by Consultant)1 | Line 16.05 x | 0% | 0 | 2% to 4%
17.02 | Land Purchase Costs2 | 1 LS | -- | 0 | N/A
17.03 | Site Investigation2 | 1 LS | -- | 0 | N/A
17.04 | Seismic Hazard3 | 1 LS | -- | 0 | N/A
17.05 | Design Services Costs | Line 16.05 x | 0% | 0 | 6% to 10%
17.06 | Other Construction4 | 1 LS | -- | 0 | N/A
17.07 | Equipment & Technology Costs2, 5 | Line 16.05 x | 0% | 0 | Up to 4%
17.08 | District Administrative Overhead6 | Line 16.05 x | 0% | 0 | Up to 9%
17.09 | Art7 | Line 16.05 x | 0% | 0 | 0.5% to 1%
17.1 | Project Contingency | Line 16.05 x | 5% | 0 | 5%
17.11 | PROJECT TOTAL COST (Lines 16.05 + 17.01 thru 17.10): |  | 5% | 0 | n/a
NOTES: |  | n/a | n/a | n/a | n/a
1. Percentage is established by AS 14.11.020(c) for consultant contracts (Maximum allowed percentage by total project cost: $0-$500,000 – 4%; $500,001- $5,000,000 – 3%; over $5,000,000 – 2%).
2. Include only if necessary for completion of this project; address need in the project description (CIP Application Question 3d). Amounts included for Land and Site Investigation costs need to be supported in the cost estimate discussion (CIP Application Question 7c), and supporting documentation should be provided in the attachments.
3. Costs associated with assessment, design, design review, and special construction inspection services associated with seismic hazard mitigation of a school facility. This amount needs to be provided by a design consultant, and should not be estimated based on project percentage.
4. Provide lump sum for other construction costs, if provided by a third party for work performed or for items not otherwise included in the Program Demand Cost Model. This amount should include all costs required for completion of work not estimated using the Program Demand Cost Model.
5. Equipment and technology costs should be calculated based on the number of students to be served by the project. See the department’s publication, Guidelines for School Equipment Purchases for calculation methodology (2021). Technology is included with Equipment.
6. Includes district/municipal/borough administrative costs necessary for the administration of this project (for maximum indirect percentage based on project cost, see 4 AAC 31.023); this budget line will also include any in-house construction management cost, reduced for CM percentage.
7. Only required for renovation and construction projects over $250,000 that require an Educational Specification (AS 35.27.020(d)).
End of section

## General Summary
Construction Cost Summary
Name of School District |  |  | Date of Estimate
Name of Project/School |  |  | Select Project Location
Line | Type of Work | Description | Quantity | Cost Per Unit | Total
1 | New/Addition | Instructional Resource/Support Teaching Areas | n/a | n/a | n/a
1.01 | New/Addition | Standard Classroom | 0 | 407.7 | 0
1.02 | New/Addition | Kindergarten/Primary Classroom | 0 | 444.97 | 0
1.03 | New/Addition | Damp Classroom/Laboratory | 0 | 447.47 | 0
1.04 | New/Addition | Gymnasium | 0 | 550.74 | 0
1.05 | New/Addition | Media Center/Library | 0 | 426.33 | 0
1.06 | New/Addition | Music Room | 0 | 450.18 | 0
1.07 | New/Addition | Consumer Education | 0 | 485.95 | 0
1.08 | New/Addition | Career Technology | 0 | 473.26 | 0
1.09 | New/Addition | Other | 0 | 0 | 0
1.1 | New/Addition | Other | 0 | 0 | 0
1.11 | New/Addition | SUBTOTAL (Lines 1.01 Through 1.10): | 0 | n/a | 0
2 | New/Addition | General Support/Supplementary Areas | n/a | n/a | n/a
2.01 | New/Addition | Multi-Purpose Room | 0 | 429.12 | 0
2.021 | New/Addition | Auditorium | 0 | 616.28 | 0
2.022 | New/Addition | Platform Stage | 0 | 542.85 | 0
2.023 | New/Addition | Stage | 0 | 700 | 0
2.03 | New/Addition | Lockers and Showers | 0 | 594.87 | 0
2.04 | New/Addition | Administration | 0 | 443.73 | 0
2.05 | New/Addition | Cafeteria/Food Preparation | 0 | 1082.43 | 0
2.06 | New/Addition | Storage | 0 | 300.7 | 0
2.07 | New/Addition | Toilets | 0 | 640.75 | 0
2.08 | New/Addition | Circulation (Corridors, Etc.) | 0 | 418.53 | 0
2.09 | New/Addition | Mechanical/Electrical | 0 | 300.7 | 0
2.1 | New/Addition | Custodial | 0 | 421.26 | 0
2.11 | New/Addition | Other | 0 | 0 | 0
2.12 | New/Addition | Other | 0 | 0 | 0
2.13 | New/Addition | SUBTOTAL (Lines 1.11 + 2.01 Through 2.12): | 0 | n/a | 0
3 | New/Addition | Special Requirements | n/a | n/a | n/a
3.011 | New/Addition | Emergency Generator Within Building | 0 | 2368.15 | 0
3.012 | New/Addition | Emergency Standby Generator (Pre-Packaged) | 0 | 2190.48 | 0
3.013 | New/Addition | Generator Primary Power | 0 | 2823.54 | 0
3.02 | New/Addition | Fuel Oil Storage for Generator | 0 | 21.58 | 0
3.031 | New/Addition | Fire Protection - Diesel Pump | 0 | 127064 | 0
3.032 | New/Addition | Fire Protection - Electric Pump | 0 | 66780 | 0
3.033 | New/Addition | Fire Protection - Mist System | 0 | 39.01 | 0
3.04 | New/Addition | Fire Protection - Water Storage | 0 | 10.65 | 0
3.05 | New/Addition | Add for Crawlspace | 0 | 116.91 | 0
3.06 | New/Addition | Pile Foundation with Subfloor System | 0 | 192.39 | 0
3.07 | New/Addition | Thermopile Foundation with Subfloor System | 0 | 204.24 | 0
3.08 | New/Addition | Demolition of Existing Building | 0 | 37.79 | 0
3.09 | New/Addition | Abatement of Existing Building | 0 | 19.26 | 0
3.1 | New/Addition | Sewage Lagoon Closeout | 0 | 8.6 | 0
3.11 | New/Addition | Other Special Requirements | 1 | 0 | 0
3.12 | New/Addition | SUBTOTAL (Lines 2.13 + 3.01 Through 3.11): | n/a | n/a | 0
4 | New/Addition | Site Work (Technical Assistance Required) | n/a | n/a | n/a
4.01 | New/Addition | Site Preparation | 1 | 0 | 0
4.011 | New/Addition | Soil Remediation | 0 | 1280.9 | 0
4.02 | New/Addition | Site Earthwork | 1 | 0 | 0
4.03 | New/Addition | Site Improvements | 1 | 0 | 0
4.031 | New/Addition | Construct Paved Parking Area | 0 | 3031 | 0
4.032 | New/Addition | Construct Unpaved Parking Area | 0 | 4.42 | 0
4.033 | New/Addition | On Grade Boardwalk | 0 | 66.12 | 0
4.034 | New/Addition | Elevated Boardwalk | 0 | 63.25 | 0
4.035-A | New/Addition | Large Play Equipment with Fall Protection | 0 | 95041 | 0
4.035-B | New/Addition | Medium Play Equipment with Fall Protection | 0 | 45020 | 0
4.035-C | New/Addition | Small Play Equipment with Fall Protection | 0 | 3320 | 0
4.035-D | New/Addition | 4-Bay Swing Set | 0 | 5028 | 0
4.035-E | New/Addition | Playground Safety Surfacing | 0 | 34.85 | 0
4.036-A | New/Addition | Play Deck on Grade | 0 | 88.05 | 0
4.036-B | New/Addition | Play Deck on Helical Piles | 0 | 79.61 | 0
4.037-A | New/Addition | Landscaping with Truck Access | 0 | 11.2 | 0
4.037-B | New/Addition | Landscaping with Barge Access | 0 | 13.35 | 0
4.038 | New/Addition | Sports Field/Track | 0 | 4.27 | 0
4.04 | New/Addition | Site Structures | 1 | 0 | 0
4.041 | New/Addition | Covered Play Area | 0 | 117.44 | 0
4.042 | New/Addition | Utility Building Built in Place | 0 | 289.7 | 0
4.043 | New/Addition | Pipe Supported Deck Structure | 0 | 237.37 | 0
4.05 | New/Addition | Site Utilities | 1 | 0 | 0
4.051 | New/Addition | Water Main | 0 | 248.89 | 0
4.052 | New/Addition | Sewer Main | 0 | 240.02 | 0
4.053 | New/Addition | Underground Storm Water System | 0 | 6.32 | 0
4.054 | New/Addition | Pumped Sanitary Sewer System | 0 | 452.1 | 0
4.055 | New/Addition | Well | 0 | 28699 | 0
4.056 | New/Addition | Pre-Packaged Water Treatment | 0 | 1654577 | 0
4.057 | New/Addition | Utilidor | 0 | 1142.52 | 0
4.06 | New/Addition | Bulk Fuel Storage | 0 | 21.58 | 0
4.061 | New/Addition | Remove Bulk Fuel Storage Tanks | 0 | 2.36 | 0
4.07 | New/Addition | Site Electrical | 1 | 0 | 0
4.08 | New/Addition | Site Lighting (Cost Per Fixture) | 0 | 17632.5 | 0
4.09 | New/Addition | Septic Tank/Leach Field | 0 | 169693 | 0
4.091 | New/Addition | Sewage Lagoon | 0 | 3698 | 0
4.092 | New/Addition | Pre-Packaged Waste Water Treatment | 0 | 1468312 | 0
4.1 | New/Addition | Other | 1 | 0 | 0
4.11 | New/Addition | TOTAL BUILDING COSTS (Lines 3.12 + 4.01 Through 4.10): |  | n/a | 0
5 | New/Addition | Construction General Requirements | n/a | n/a | n/a
5.01 | New/Addition | Mobilization, General Operating Costs and Office Overhead | n/a | 13.3% | 0
5.02 | New/Addition | Contractor's Mark-Up, Risk and Profit | n/a | 9% | 0
5.03 | New/Addition | Bonds and Insurances | n/a | 2.45% | 0
5.04 | New/Addition | Subtotal General Requirements | n/a |  | 0
5.05 | New/Addition | BASE TOTAL (Lines 4.11 + 5.04): | n/a | n/a | 0
6 | New/Addition | Geographic Area Cost Factor | n/a | n/a | n/a
6.01 | New/Addition | Geographic Area Cost Factor | n/a | 0% | 0
6.02 | New/Addition | SUBTOTAL (Lines 5.05 + 6.01): | n/a | n/a | 0
7 | New/Addition | Size Factor | n/a | n/a | n/a
7.01 | New/Addition | Size Adjustment Factor | Override | No | 0
7.02 | New/Addition | SUBTOTAL (Lines 6.02 + 7.01): | n/a | n/a | 0
8 | New/Addition | Contingencies | n/a | n/a | n/a
8.01 | New/Addition | GENERAL: For Construction Unknowns and the Unanticipated, on Site and Design Criteria | n/a | 10% | 0
8.02 | New/Addition | UNIQUE MARKET RISK - Contingency due to tariff and gas pricing's unknown affect on the economy. |  | 5% | 0
8.04 | New/Addition | ESCALATION: Escalation Added for Future Cost Estimates. Project Escalated to the Year . . . | 2026 | 0% | 0
8.05 | New/Addition | TOTAL ESTIMATED CONSTRUCTION VALUE (Lines 7.02 + 8.01 Through 8.04): |  |  | 0
9 | New/Addition | Project Overhead and Other Costs | n/a | n/a | n/a
9.01 | New/Addition | Construction Management (by Consultant) | n/a | 0% | 0
9.02 | New/Addition | Land Purchase Costs | n/a | -- | 0
9.03 | New/Addition | Site Investigation | n/a | -- | 0
9.04 | New/Addition | Seismic Hazard | n/a | -- | 0
9.05 | New/Addition | Design Services Costs | n/a | 0% | 0
9.06 | New/Addition | Other Construction | n/a | -- | 0
9.07 | New/Addition | Equipment & Technology Costs | n/a | 0% | 0
9.08 | New/Addition | District Administrative Overhead | n/a | 0% | 0
9.09 | New/Addition | Art | n/a | 0% | 0
9.1 | New/Addition | Project Contingency | n/a | 5% | 0
9.11 | New/Addition | PROJECT TOTAL COST (Lines 8.04 + 9.01 Through 9.10): | n/a | n/a | 0
11 | Renovation | RENOVATION | n/a | n/a | n/a
11.01 | Renovation | SITE WORK | n/a | n/a | n/a
11.02 | Renovation | Paving Replacement | 0 | 2171 | 0
11.03 | Renovation | Fencing Replacement | 0 | 97.94 | 0
11.04 | Renovation | Replace Septic System | 0 | 34.81 | 0
11.1 | Renovation | FOUNDATION AND SUBSTRUCTURE | n/a | n/a | n/a
11.11 | Renovation | Repairs (Estimate) | 1 | 0 | 0
11.12 | Renovation | Recharge Thermopiles | 0 | 1137.88 | 0
11.13 | Renovation | Site Grading/Drainage | 0 | 422052 | 0
11.2 | Renovation | SUPERSTRUCTURE | n/a | n/a | n/a
11.21 | Renovation | Repairs (Estimate) | 1 | 0 | 0
11.22 | Renovation | Seismic Repairs (Estimate) | 1 | 0 | 0
11.3 | Renovation | EXTERIOR CLOSURE | n/a | n/a | n/a
11.31 | Renovation | Exterior Upgrades (Replace Exterior Beveled Siding) | 0 | 16.83 | 0
11.32 | Renovation | Exterior Upgrades (Repaint Existing) | 0 | 4.96 | 0
11.33 | Renovation | Exterior Insulation Finish System to Existing | 0 | 27.25 | 0
11.34 | Renovation | Exterior Upgrades (Painted Cement Board) | 0 | 14.36 | 0
11.35 | Renovation | Exterior Skin (Metal Siding) | 0 | 31.46 | 0
11.36 | Renovation | Exterior Skin (New Metal Siding Installed Over Existing) | 0 | 30.45 | 0
11.37 | Renovation | Insulation (Replace Insulation and Gypboard) | 0 | 9.99 | 0
11.38 | Renovation | Exterior Closure (Replace Doors and Frames) | 0 | 6477.36 | 0
11.39 | Renovation | Exterior Closure (Replace Overhead Doors) | 0 | 218.71 | 0
11.4 | Renovation | Exterior Closure (Replace Windows) | 0 | 160.69 | 0
11.41 | Renovation | Exterior Closure (Replace Curtain Wall) | 0 | 257.1 | 0
11.42 | Renovation | Other Repairs (Estimate) | 1 | 0 | 0
11.5 | Renovation | ROOFING (Area of Roof) | n/a | n/a | n/a
11.51 | Renovation | Replace Metal Roofing | 0 | 42.17 | 0
11.52 | Renovation | Replace Insulated Metal Panel Roofing | 0 | 48.02 | 0
11.53 | Renovation | Replace Membrane Roofing | 0 | 40.09 | 0
11.54 | Renovation | Replace Asphalt Shingle Roofing | 0 | 16.8 | 0
11.55 | Renovation | Increase Roof Insulation by R-10 During Roof Replacement | 0 | 4.63 | 0
11.56 | Renovation | Replace Roof Drain/Rain Leader | 0 | 6230 | 0
11.6 | Renovation | INTERIOR CONSTRUCTION | n/a | n/a | n/a
11.61 | Renovation | Replace Partitions (Includes Finishes) | 0 | 27.57 | 0
11.62 | Renovation | Replace Wall Finishes | 0 | 12.53 | 0
11.63 | Renovation | Replace Door Leafs and Frames | 0 | 4154.56 | 0
11.64 | Renovation | Interior Painting (Walls and Ceilings) | 0 | 7.8 | 0
11.65 | Renovation | Replace Carpet Tile | 0 | 10.02 | 0
11.66 | Renovation | Replace Resilient Flooring | 0 | 12.23 | 0
11.67 | Renovation | Replace Wood Gym Flooring | 0 | 41.54 | 0
11.68 | Renovation | Replace Resilient Gym Flooring | 0 | 27.03 | 0
11.69 | Renovation | Replace Ceramic Tile | 0 | 35.31 | 0
11.7 | Renovation | Replace Acoustical Tile Ceiling | 0 | 5.49 | 0
11.71 | Renovation | Replace Gypboard Ceiling | 0 | 10.2 | 0
11.8 | Renovation | SPECIALTIES/FURNISHINGS AND EQUIPMENT | n/a | n/a | n/a
11.81 | Renovation | Replace Toilet Partitions | 0 | 2044.56 | 0
11.82 | Renovation | Replace Toilet Accessories | 0 | 210.98 | 0
11.83 | Renovation | Smart Boards | 0 | 11948.1 | 0
11.84 | Renovation | Replace Sports Equipment and Lockers (Small Gym) | 0 | 38415 | 0
11.85 | Renovation | Replace Bleachers | 0 | 377.57 | 0
11.86 | Renovation | Replace Tack/Chalk/Marker Boards | 0 | 22.29 | 0
11.87 | Renovation | Replace Base Cabinet Units | 0 | 421.96 | 0
11.88 | Renovation | Replace Wall Hung Units | 0 | 289.39 | 0
11.89 | Renovation | Replace Window Coverings | 0 | 37.29 | 0
11.9 |  | Other Repairs (Estimate) | 1 | 0 | 0
11.1 | Renovation | CONVEYING (Elevators, Etc.) | n/a | n/a | n/a
11.101 | Renovation | New Two-Stop Elevator | 0 | 240756 | 0
11.102 | Renovation | Replace Wheelchair Lift | 0 | 29743 | 0
11.103 | Renovation | Repairs/Replacement (Estimate) | 1 | 0 | 0
11.11 | Renovation | MECHANICAL | n/a | n/a | n/a
11.111 | Renovation | Replace Plumbing Fixtures Only | 0 | 2993.22 | 0
11.112 | Renovation | Replace Entire Plumbing System | 0 | 18.38 | 0
11.113 | Renovation | Replace Plumbing - Domestic Water Piping | 0 | 5.89 | 0
11.114 | Renovation | Replace Plumbing - Waste Piping | 0 | 6.97 | 0
11.115 | Renovation | Replace Heating Systems | 0 | 20.24 | 0
11.116 | Renovation | Replace Boiler(s) Including Partial Boiler Room Re-Piping | 0 | 98.57 | 0
11.117 | Renovation | Replace Cabinet Unit Heaters | 0 | 4474 | 0
11.118 | Renovation | Replace Hot Water Generator Including Disposal | 0 | 113.61 | 0
11.119 | Renovation | Replace Ventilation Systems | 0 | 50.95 | 0
11.12 | Renovation | Replace Air Handling Unit | 0 | 18.74 | 0
11.121 | Renovation | New Exhaust Fan | 0 | 17000 | 0
11.122 | Renovation | New Cooling Systems | 0 | 3.26 | 0
11.123 | Renovation | New DDC Controls | 0 | 14.45 | 0
11.124 |  | Replace DDC Headend Equipment | 0 | 91406 | 0
11.125 | Renovation | New Electric Controls | 0 | 1.39 | 0
11.126 | Renovation | New Sprinkler System (Excludes Replace Ceiling) | 0 | 12.87 | 0
11.127 | Renovation | New Mist Sprinkler System | 0 | 42.66 | 0
11.128 | Renovation | Fire Protection Diesel Pump Replacement | 0 | 131907 | 0
11.129 | Renovation | Fire Protection Electric Pump Replacement | 0 | 64551 | 0
11.13 | Renovation | Replace Bulk Water Storage Tank | 0 | 11.22 | 0
11.131 | Renovation | Other Repairs/Replacement (Estimate) | 1 | 0 | 0
11.14 | Renovation | ELECTRICAL | n/a | n/a | n/a
11.141 | Renovation | Replace Main Service and Distribution | 0 | 170364 | 0
11.142 | Renovation | Replace Main Distribution Panel | 0 | 74033 | 0
11.143 | Renovation | New Power Panel | 0 | 14708 | 0
11.144 | Renovation | Replace Lighting - Fixtures & Wiring | 0 | 16.81 | 0
11.145 | Renovation | Replace Lighting - Fixtures Only | 0 | 9.42 | 0
11.146 | Renovation | Re-Lamp Fixtures | 0 | 1.72 | 0
11.147 | Renovation | Replace Power Devices | 0 | 4.22 | 0
11.148 | Renovation | New Standby Power and Fuel Oil | 0 | 2368.15 | 0
11.149 | Renovation | New Pre-Packaged Standby Power and Fuel Oil | 0 | 2190.48 | 0
11.15 | Renovation | Generator Primary Power | 0 | 2823.54 | 0
11.16 | Renovation | FIRE ALARM/COMMUNICATIONS/SECURITY | n/a | n/a | n/a
11.161 | Renovation | New Addressable Fire Alarm System | 0 | 3.24 | 0
11.162 | Renovation | Replace Fire Alarm Panel | 0 | 16702 | 0
11.163 | Renovation | New Computer Outlets (Rough-In) | 0 | 2.18 | 0
11.164 | Renovation | New Data/Telecommunication/Address/Clock Systems | 0 | 7.73 | 0
11.165 | Renovation | New Public Address (Gym and Stage) | 0 | 60661 | 0
11.166 | Renovation | New Hearing Impaired Audio System | 0 | 20206 | 0
11.167 | Renovation | New Security System/CCTV | 0 | 6.83 | 0
11.168 | Renovation | Key Card Entry System | 0 | 5523 | 0
11.169 | Renovation | Enhanced Reception Security | 0 | 17318 | 0
11.18 | Renovation | OTHER REPAIRS/REPLACEMENT/DEMOLITION | n/a | n/a | n/a
11.181 | Renovation | Other Repairs/Replacement/Demolition (Estimate) | 1 | 0 | 0
11.182 | Renovation | SUBTOTAL (Lines 11.01 thru 11.181): |  |  | 0
12 | Renovation | ADDITIONAL COSTS FOR HAZARDOUS MATERIALS REMOVAL (OPTIONS) (SUPPLEMENT TO SECTION 11.00) | n/a | n/a | n/a
12.01 | Renovation | Complete Renovation (Interior) (Removal Only) | 0 | 20.8 | 0
12.02 | Renovation | Roof Replacement (Roof Area) (Removal Only) | 0 | 4.22 | 0
12.03 | Renovation | Exterior Upgrade (Number of Doors) (Removal Only) | 0 | 822.39 | 0
12.04 | Renovation | Replace Interiors (Removal Only) | 0 | 5.42 | 0
12.05 | Renovation | Replace Plumbing Fixtures (Removal Only) | 0 | 559.65 | 0
12.06 | Renovation | Replace Heating and Ventilation Systems (Removal Only) | 0 | 5 | 0
12.07 | Renovation | New Sprinkler System (Removal Only) | 0 | 4.28 | 0
12.08 | Renovation | Work in Connection with New Electrical Installation (Removal Only) | 0 | 0.88 | 0
12.09 | Renovation | Replace Small Fuel Oil Tank (Below Ground) | 0 | 51.05 | 0
12.1 | Renovation | Replace Bulk Fuel Oil Tank (Above Ground) | 0 | 24.04 | 0
12.11 | Renovation | Remove Below Ground Tank and Install New Above Ground Tank | 0 | 31.37 | 0
12.12 | Renovation | Remove Above Ground Tank and Install New Below Ground Tank | 0 | 29.85 | 0
12.13 | Renovation | Soil Remediation | 0 | 1280.9 | 0
12.14 | Renovation | Other Specific Abatement | 1 | 0 | 0
12.15 | Renovation | SUBTOTAL (Lines 11.182 + 12.01 thru 12.14): |  |  | 0
13 | Renovation | Construction General Requirements | n/a | n/a | n/a
13.01 | Renovation | Mobilization, General Operating Costs and Office Overhead | n/a | 15% | 0
13.02 | Renovation | Contractor's Mark-Up, Risk and Profit | n/a | 10.5% | 0
13.03 | Renovation | Bonds and Insurances | n/a | 3% | 0
13.04 | Renovation | Subtotal General Requirements | n/a |  | 0
13.05 | Renovation | BASE TOTAL (Lines 12.15 + 13.04): | n/a | n/a | 0
14 | Renovation | Geographic Area Cost Factor | n/a | n/a | n/a
14.01 | Renovation | Geographic Area Cost Factor | n/a | 0% | 0
14.02 | Renovation | SUBTOTAL (Lines 13.05 + 14.01): | n/a | n/a | 0
15 | Renovation | Adjustment Factor | n/a | n/a | n/a
15.01 | Renovation | Dollar Adjustment Factor | Override | No | 0
15.02 | Renovation | SUBTOTAL (Lines 14.02 + 15.01): | n/a | n/a | 0
16 | Renovation | Contingencies | n/a | n/a | n/a
16.01 | Renovation | GENERAL: For Construction Unknowns and the Unanticipated, on Site and Design Criteria | n/a | 15% | 0
16.02 | Renovation | UNIQUE MARKET RISK - Contingency due to tariff and gas pricing's unknown affect on the economy. |  | 5% | 0
16.03 | Renovation | ESCALATION: Escalation Added for Future Cost Estimates. Project Escalated to the Year . . . | 2026 | 0% | 0
16.04 | Renovation | TOTAL ESTIMATED CONSTRUCTION VALUE (Lines 15.02 + 16.01 Thru 16.03): |  |  | 0
N/A
17 | Renovation | Project Overhead and Other Costs | n/a | n/a | n/a
17.01 | Renovation | Construction Management (by Consultant) | n/a | 0% | 0
17.02 | Renovation | Land Purchase Costs | n/a | -- | 0
17.03 | Renovation | Site Investigation | n/a | -- | 0
17.04 | Renovation | Seismic Hazard | n/a | -- | 0
17.05 | Renovation | Design Services Costs | n/a | 0% | 0
17.06 | Renovation | Other Construction | n/a | -- | 0
17.07 | Renovation | Equipment & Technology Costs | n/a | 0% | 0
17.08 | Renovation | District Administrative Overhead | n/a | 0% | 0
17.09 | Renovation | Art | n/a | 0% | 0
17.1 | Renovation | Project Contingency | n/a | 5% | 0
17.11 | Renovation | PROJECT TOTAL COST (Lines 16.04 + 17.01 Thru 17.10): | n/a | n/a | 0
Line | Type of Work | Summary | Gross Floor Area | Costs | Total Costs
1.00-9.11 | New School or Additions |  | 0 | 0 | 0
11.00-17.11 | Renovation Work |  | 0 | 0 | 0
TOTAL NEW SCHOOL OR ADDITIONS AND RENOVATION WORK: |  |  | 0 | 0 | 0
End of section
Note on C173: Please describe your "Other Repairs" on the "Notes/Assumption" worksheet at the end of this workbook.

## Notes
Notes and Assumptions
Name of School District |  |  | Date of Estimate
Name of Project/School |  |  | Select Project Location
Page No. | Line Item | Description | n/a

## Location Table (hidden)
Project Locations Table
| Location | GACF %
| Select Project Location | 0%
| Alaska Gateway | 10.92%
| Aleutian Region | 47.33%
| Aleutians East Borough | 28.8%
| Anchorage | 0%
| Annette Island | 20.02%
| Bering Strait (North of Nome/Offshore Villages) | 43.79%
| Bristol Bay Borough | 22.87%
| Chatham | 18.6%
| Chugach | 26.51%
| Copper River | 9.89%
| Cordova City | 30.1%
| Craig City | 19.97%
| Delta/Greely | 14.82%
| Denali Borough | 16.78%
| Dillingham City | 23.19%
| Fairbanks North Star Borough | 6.62%
| Galena City | 32.99%
| Haines Borough | 9.63%
| Hoonah City | 19.32%
| Hydaburg City | 22.03%
| Iditarod Area - Yukon River Village | 34.45%
| Iditarod Area - Kuskokwim River Village | 37.42%
| Iditarod Area - Landlocked Village | 41.33%
| Juneau City/Borough | 11.12%
| Kake City | 23.42%
| Kashunamuit | 41.76%
| Kenai Peninsula Borough - Kenai/Soldotna | 3.87%
| Kenai Peninsula Borough - Homer Area | 6.24%
| Kenai Peninsula Borough - Eastern Area | 16.79%
| Kenai Peninsula Borough - Western Area | 19%
| Ketchikan Gateway Borough | 15.83%
| Klawock City | 20.16%
| Kodiak Island Borough - Kodiak | 19.5%
| Kodiak Island Borough - Village | 28.1%
| Kuspuk | 39.47%
| Lake & Peninsula Borough - Gulf of Alaska Village | 41.14%
| Lake & Peninsula Borough - Bristol Bay Village | 39.91%
| Lake & Peninsula Borough - Landlocked Village | 38.44%
| Lower Kuskokwim - Bethel | 18.37%
| Lower Kuskokwim - Villages | 40.24%
| Lower Yukon | 47.89%
| Lower Yukon Inland River/Villages | 47.96%
| Mat-Su Borough - Palmer - Wasilla | -1.15%
| Mat-Su Borough - Other Areas | 5.69%
| Nenana City | 10.41%
| Nome City | 26.44%
| North Slope Borough - Utqiagvik (Barrow) | 39.6%
| North Slope Borough - Villages | 60.17%
| North Slope Borough - Atqasuk/Pt. Lay | 63.44%
| Kotzebue | 31.35%
| NW Arctic Borough - Villages With Barge Service | 54.02%
| NW Arctic Borough - Villages No Barge Service | 61.06%
| Pelican City | 27.91%
| Petersburg Borough | 20.9%
| Pribilof Island | 32.19%
| Sitka City/Borough | 14.04%
| Skagway Borough | 9.36%
| Southeast Island | 19.3%
| Southwest Region | 40.83%
| St. Mary's City | 34.98%
| Tanana City | 25.79%
| Unalaska City | 18.15%
| Valdez City | 21.61%
| Wrangell City/Borough | 19.38%
| Yakutat City/Borough | 37.38%
| Yukon Flats - Village on Road System | 12.12%
| Yukon Flats - Village on River | 40.74%
| Yukon Flats - Landlocked Village | 42.99%
| Yukon-Koyukuk - Village on Road System | 15.33%
| Yukon-Koyukuk - Village on Yukon River | 42.18%
| Yukon-Koyukuk - Village on Koyukuk River | 53.87%
| Yupiit | 32.1%

## GACF Table (hidden)
Geographic Area Cost Factors Table
| Location | GACF %
| Alaska Gateway | 10.92%
| Aleutian Region | 47.33%
| Aleutians East Borough | 28.8%
| Anchorage | 0%
| Annette Island | 20.02%
| Bering Strait (North of Nome/Offshore Villages) | 43.79%
| Bristol Bay Borough | 22.87%
| Chatham | 18.6%
| Chugach | 26.51%
| Copper River | 9.89%
| Cordova City | 30.1%
| Craig City | 19.97%
| Delta/Greely | 14.82%
| Denali Borough | 16.78%
| Dillingham City | 23.19%
| Fairbanks North Star Borough | 6.62%
| Galena City | 32.99%
| Haines Borough | 9.63%
| Hoonah City | 19.32%
| Hydaburg City | 22.03%
| Iditarod Area - Yukon River Village | 34.45%
| Iditarod Area - Kuskokwim River Village | 37.42%
| Iditarod Area - Landlocked Village | 41.33%
| Juneau City/Borough | 11.12%
| Kake City | 23.42%
| Kashunamuit | 41.76%
| Kenai Peninsula Borough - Kenai/Soldotna | 3.87%
| Kenai Peninsula Borough - Homer Area | 6.24%
| Kenai Peninsula Borough - Eastern Area | 16.79%
| Kenai Peninsula Borough - Western Area | 19%
| Ketchikan Gateway Borough | 15.83%
| Klawock City | 20.16%
| Kodiak Island Borough - Kodiak | 19.5%
| Kodiak Island Borough - Village | 28.1%
| Kuspuk | 39.47%
| Lake & Peninsula Borough - Gulf of Alaska Village | 41.14%
| Lake & Peninsula Borough - Bristol Bay Village | 39.91%
| Lake & Peninsula Borough - Landlocked Village | 38.44%
| Lower Kuskokwim - Bethel | 18.37%
| Lower Kuskokwim - Villages | 40.24%
| Lower Yukon | 47.89%
| Lower Yukon Inland River/Villages | 47.96%
| Mat-Su Borough - Palmer - Wasilla | -1.15%
| Mat-Su Borough - Other Areas | 5.69%
| Nenana City | 10.41%
| Nome City | 26.44%
| North Slope Borough - Utqiagvik (Barrow) | 39.6%
| North Slope Borough - Villages | 60.17%
| North Slope Borough - Atqasuk/Pt. Lay | 63.44%
| Kotzebue | 31.35%
| NW Arctic Borough - Villages With Barge Service | 54.02%
| NW Arctic Borough - Villages No Barge Service | 61.06%
| Pelican City | 27.91%
| Petersburg Borough | 20.9%
| Pribilof Island | 32.19%
| Select Project Location | 0%
| Sitka City/Borough | 14.04%
| Skagway Borough | 9.36%
| Southeast Island | 19.3%
| Southwest Region | 40.83%
| St. Mary's City | 34.98%
| Tanana City | 25.79%
| Unalaska City | 18.15%
| Valdez City | 21.61%
| Wrangell City/Borough | 19.38%
| Yakutat City/Borough | 37.38%
| Yukon Flats - Village on Road System | 12.12%
| Yukon Flats - Village on River | 40.74%
| Yukon Flats - Landlocked Village | 42.99%
| Yukon-Koyukuk - Village on Road System | 15.33%
| Yukon-Koyukuk - Village on Yukon River | 42.18%
| Yukon-Koyukuk - Village on Koyukuk River | 53.87%
| Yupiit | 32.1%