|  | STATE OF ALASKA DEPARTMENT OF PUBLIC SAFETY FACILITY MANAGEMENT OFFICE STATEMENT OF WORK Soldotna AST Repair by Replacement Garage Door Soldotna, Alaska Project # 12-124392F DPS/SUPPLY |
| --- | --- |

May 21, 2013

SW-1 SCOPE:	The work to be completed by this project consists of measuring for new replacement insulated aluminum overhead garage door, removing existing door with proper disposal, installing new overhead garage door, opener, and any adjustments needed for proper operation. This replacement will address public safety issues located at the Department of Public Safety, Alaska State Troopers, E Detachment located at: 46333 Kalifornsky Beach Road, Soldotna, Alaska 99669.  The work will be completed for the Facility Management Office, Department of Public Safety, 524 E. 48th Avenue, Anchorage, Alaska 99503.

SW-2 LOCATION: The work site is located at the Department of Public Safety, Alaska State Troopers, E Detachment located at: 46333 Kalifornsky Beach Road, Soldotna, Alaska 99669.

SW-3 PRINCIPAL ITEMS OF WORK: The primary work requires the contractor removing existing overhead garage door and replacing with new overhead garage door, adjusting as needed for proper operation. The new door will be operated with the existing garage door opener.  The contractor will provide all labor; tools, equipment, materials and supervision to compete work in a timely manner.

Primary Work: Measure for new door on north side of building, remove existing door, and replace with insulated aluminum door.

The primary work requires the contractor to provide all materials, labor, tools, equipment, supervision, and overhead to complete all work as stated in SW-1.

- The contractor will measure existing opening, remove existing overhead garage door, hardware, and accessories to facilitate the change out.

- The contractor must install new overhead door, tracks, and accessories and also use existing garage door opener. The intent is a new complete installation.

- The contractor will align, adjust, and make operational as quickly as possible due to the location and nature of this project.

- Replace hinges and rollers.

- Remove and Replace Roller shaft assembly.

- Remove and Replace center bearing plate.

- Remove existing garage door springs to accommodate electric garage door opener and adjust as necessary.

- Install emergency chain for Manual operation of garage door. (Existing may be used but check and replace if needed)

- Adjust the garage door for proper fit and movement ensuring proper thermal seal around door opening with no gaps or breaks in thermal envelope.

- Outside color to be white to match the other existing overhead door.

- The contractor will remove old existing garage door and properly dispose of according to and State or Local laws or ordinances.

SW-4 TOUR OF JOB SITE: Site tour will be conducted on June 03, 2013 at the location, 46333 Kalifornsky Beach Road, Soldotna, Alaska 99669 at 11:00 a.m.  Confirmation of participation must be arranged by calling Mr. Frank (D.) Whittington, Facility Manager at (907) 561-1092, ext. 223 prior to time of walkthrough.

SW-5 SPECIFICATIONS: Contractors must comply with OSHA safety Standards.  All work is to be performed in accordance with industry Standards and all applicable codes. The contractor will be required to submit product submittals prior to purchase or installation. Contractor will provide all labor, materials, tools, equipment and supervision to complete this work. All materials removed during project will be the responsibility of the contractor to remove from job site and properly disposed.  The bid opening for the project will be completed June 10, 2013 at 1:00 p.m.